Apartment Fire Extinguisher Self-Certification

(Installed in dwelling units)

Apartment Name and Address: ___________________________________________________

Property Owner or Management Company: ______________________________________________

Owner’s or Management Company Address: ____________________________________________

Owner’s or Management Company Contact Phone #: _______________________________

I, the undersigned, herby certify that I am the owner/ or representative of the above referenced property. I further certify that fire extinguishers with correct rating and size are present and functional in all dwelling units.

 In Group R-2 occupancies, each dwelling unit is provided with a portable fire extinguisher having a minimum rating of 1-A:1O-B :C. that are installed within dwelling units.

 Travel distance shall not exceed 75 feet.

 Portable extinguishers shall be securely mounted on brackets or placed in extinguisher cabinets.

 All extinguishers shall be inspected monthly, serviced annually and shall have a current service tag attached to them.

 If extinguishers are of disposable type a new extinguisher must be purchased and installed in dwelling units every 12 years and/or per manufactures instructions or when extinguisher has been discharged or found to be defective and a new extinguisher installed with receipt of purchase kept on file.

Signature: _________________________________________ Date: ______________________

Print: _________________________________________

*IF PROPERTY CHANGES OWNERSHIP OR MANAGEMENT, CERTIFICATION IS VOID AND WILL NEED TO BE REFILED WITH OUR OFFICE WITHIN 14 DAYS